**Chapter 68 Highly Toxic and Toxic Solids and Liquids**

68.1 General

68.1.1

The storage, use, and handling of highly toxic and toxic solids and liquids shall comply with Chapter 60.

68.1.2

The storage, use, and handling of highly toxic and toxic solids and liquids in amounts exceeding the maximum allowable quantity permitted in control areas as set forth in Chapter 60 shall also comply with the requirements of NFPA 400.