**Chapter 73 Water-Reactive Solids and Liquids**

73.1 General

73.1.1

The storage, use, and handling of water-reactive solids and liquids shall comply with the requirements of Chapter 60.

73.1.2

The storage, use, and handling of water-reactive solids and liquids in amounts exceeding the maximum allowable quantity permitted in control areas as set forth in Chapter 60 shall also comply with the requirements of NFPA 400.