**Chapter 2 Referenced Publications**

2.1 General

The documents or portions thereof listed in this chapter are referenced within this Code and shall be considered part of the requirements of this document.

2.2 NFPA Publications

National Fire Protection Association, 1 Batterymarch Park, Quincy, MA 02169-7471.

NFPA 10, Standard for Portable Fire Extinguishers, 2018 edition.

NFPA 13, Standard for the Installation of Sprinkler Systems, 2019 edition.

NFPA 25, Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems, 2017 edition.

NFPA 37, Standard for the Installation and Use of Stationary Combustion Engines and Gas Turbines, 2018 edition.

NFPA 70®, National Electrical Code®, 2017 edition.

NFPA 75, Standard for the Fire Protection of Information Technology Equipment, 2017 edition.

NFPA 90A, Standard for the Installation of Air-Conditioning and Ventilating Systems, 2018 edition.

NFPA 101®, Life Safety Code®, 2018 edition.

NFPA 110, Standard for Emergency and Standby Power Systems, 2019 edition.

NFPA 111, Standard on Stored Electrical Energy Emergency and Standby Power Systems, 2019 edition.

NFPA 170, Standard for Fire Safety and Emergency Symbols, 2018 edition.

NFPA 601, Standard for Security Services in Fire Loss Prevention, 2015 edition.

NFPA 1031, Standard for Professional Qualifications for Fire Inspector and Plan Examiner, 2014 edition.

NFPA 1221, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems, 2019 edition.

NFPA 1600®, Standard on Disaster/Emergency Management and Business Continuity Programs, 2019 edition.

NFPA 1620, Standard for Pre-Incident Planning, 2015 edition.

2.3 Other Publications

2.3.1 ANSI Publications

American National Standards Institute, Inc., 25 West 43rd Street, 4th Floor, New York, NY 10036.

ANSI A-58.1, Building Code Requirements for Minimum Design Loads in Buildings and Other Structures.

ANSI S1.4a, Specifications for Sound Level Meters, 2014.

ANSI/ASA S3.41, American National Standard Audible Emergency Evacuation (E2) and Evacuation Signals with Relocation Instructions (ESRI), 1990, reaffirmed 2015.

2.3.2 ASME Publications

American Society of Mechanical Engineers, Two Park Avenue, New York, NY 10016-5990.

ASME A17.1-2016/CSA B44-16, Safety Code for Elevators and Escalators, 2016.

2.3.3 IEEE Publications

Institute of Electrical and Electronics Engineers, 3 Park Avenue, 17th Floor, New York, NY 10016-5997.

IEEE 450, Recommended Practice for Maintenance, Testing, and Replacement of Vented Lead-Acid Batteries for Stationary Applications, 2010.

IEEE 1106, Recommended Practice for Installation, Maintenance, Testing, and Replacement of Vented Nickel-Cadmium Batteries for Stationary Applications, 2005.

ANSI/IEEE C2, National Electrical Safety Code, 2017.

2.3.4 IMSA Publications

International Municipal Signal Association, 165 East Union Street, Newark, NY 14513-0539.

"IMSA Official Wire and Cable Specifications," 2012.

2.3.5 ISO Publications

International Organization for Standardization, ISO Central Secretariat, BIBC II, Chemin de Blandonnet 8, CP 401, 1214 Vernier, Geneva, Switzerland.

ISO 7731, Danger signals for public and work places — Auditory danger signals, 2003 (reconfirmed 2015).

2.3.6 Telcordia Publications

Telcordia Technologies, One Telcordia Drive, Piscataway, NJ 08854.

GR-506-CORE, LATA Switching Systems Generic Requirements: Signaling for Analog Interface, 2011.

GR-909-CORE, Fiber in the Loop Systems Generic Requirements, 2004.

2.3.7 TIA Publications

Telecommunications Industry Association, 1320 North Courthouse Road, Suite 200, Arlington, VA 22201.

TIA-526, Standard Test Procedures for Fiber Optic Systems.

ANSI/TIA-568-C.3, Optical Fiber Cabling Components Standard, 2015.

ANSI/TIA-569-D, Telecommunications Pathways and Spaces.

2.3.8 UL Publications

Underwriters Laboratories Inc., 333 Pfingsten Road, Northbrook, IL 60062-2096.

ANSI/UL 38, Standard for Manual Signaling Boxes for Fire Alarm Systems, 2008.

ANSI/UL 217, Standard for Single and Multiple Station Smoke Alarms, 8th edition, revised 2016.

ANSI/UL 268, Standard for Smoke Detectors for Fire Alarm Systems, 7th edition, 2016.

ANSI/UL 521, Standard for Heat Detectors for Fire Protective Signaling Systems, 7th edition, 1999, revised 2016.

ANSI/UL 827, Standard for Central-Station Alarm Services, 8th edition, 2014, revised 2016.

ANSI/UL 864, Standard for Control Units and Accessories for Fire Alarm Systems, 10th edition, 2014.

ANSI/UL 985, Standard for Household Fire Warning System Units, 6th edition, 2015.

ANSI/UL 1484, Standard for Residential Gas Detectors, 5th edition, 2016.

ANSI/UL 1638, Visible Signaling Devices for Fire Alarm and Signaling Systems, Including Accessories, 5th edition, 2016.

ANSI/UL 1730, Standard for Smoke Detector Monitors and Accessories for Individual Living Units of Multifamily Residences and Hotel/Motel Rooms, 4th edition, 2006, revised 2012.

ANSI/UL 1971, Standard for Signaling Devices for the Hearing Impaired, 3rd edition, 2002, revised 2013.

ANSI/UL 1981, Central Station Automation Systems, 3rd edition, 2014, revised 2015.

ANSI/UL 2017, Standard for General-Purpose Signaling Devices and Systems, 2nd edition, 2008, revised 2016.

ANSI/UL 2034, Standard for Single and Multiple Station Carbon Monoxide Alarms, February 2008, revised February 2009.

ANSI/UL 2075, Standard for Gas and Vapor Detectors and Sensors, 2nd edition, March 2013.

ANSI/UL 2572, Mass Notification Systems, 2nd edition, 2016.

ANSI/UL 60950, Information Technology Equipment — Safety — Part 1: General Requirements, 3rd edition, issued December 2005, including Amendment 1 issued December 2009 and Amendment 2 issued May 2013.

2.3.9 Other Publications

Merriam-Webster's Collegiate Dictionary, 11th edition, Merriam-Webster, Inc., Springfield, MA, 2003.

2.4 References for Extracts in Mandatory Sections

, Standard for the Installation of Sprinkler Systems, 2016 edition.

NFPA 70®, National Electrical Code®, 2017 edition.

NFPA 101®, Life Safety Code®, 2018 edition.

NFPA 654, Standard for the Prevention of Fire and Dust Explosions from the Manufacturing, Processing, and Handling of Combustible Particulate Solids, 2017 edition.

NFPA 1221, Standard for the Installation, Maintenance, and Use of Emergency Services Communications Systems, 2019 edition.

NFPA 5000®, Building Construction and Safety Code®, 2018 edition.